## Sheet1
| GSP | NRN | Name | Voltage Ratio | TX Details | Firm Capacity | Date & time of Peak | 2019 / 20 Peak (MW) | ACS Corr. Factor | Historic Trend | Forecasting | 2019 / 2020 | 2020 / 2021 | 2021 / 2022 | 2022 / 2023 | 2023 / 2024 | 2024 / 2025 | 2025 / 2026 | 2026 / 2027 | 2027 / 2028 | 2028 / 2029 | 2029 / 2030 | 2030 / 2031 | 2031 / 2032 | 2032 / 2033 | Commentary | Spring/Autumn | Summer | Minimum Demand | PSS/E Bus #1 | PSS/E Bus #2 | PSS/E Bus #3 | PSS/E Bus #4 | PSS/E Bus #5 | PSS/E Bus #6 | PSS/E Bus #7 | PSS/E Bus #8 | 2018/19 Peak (MW) | Change | Sub_GSP | Sub_Primary | aggregate_2019 / 2020 | aggregate_2020 / 2021 | aggregate_2021 / 2022 | aggregate_2022 / 2023 | aggregate_2023 / 2024 | aggregate_2024 / 2025 | aggregate_2025 / 2026 | aggregate_2026 / 2027 | aggregate_2027 / 2028 | aggregate_2028 / 2029 | aggregate_2029 / 2030 | aggregate_2030 / 2031 | aggregate_2031 / 2032 | aggregate_2032 / 2033 | sum_percentages | percentage_PSS/E Bus #1 | percentage_PSS/E Bus #2 | percentage_PSS/E Bus #3 | percentage_PSS/E Bus #4 | percentage_PSS/E Bus #5 | percentage_PSS/E Bus #6 | percentage_PSS/E Bus #7 | percentage_PSS/E Bus #8 | available_years | year_forecasted | estimate_2019 / 2020 | estimate_2020 / 2021 | estimate_2021 / 2022 | estimate_2022 / 2023 | estimate_2023 / 2024 | estimate_2024 / 2025 | estimate_2025 / 2026 | estimate_2026 / 2027 | estimate_2027 / 2028 | estimate_2028 / 2029 | estimate_2029 / 2030 | estimate_2030 / 2031 | estimate_2031 / 2032 | estimate_2032 / 2033 | Divers_Factor
57 | ALNESS | 576 | LEALTY | 33/11 | 1 x 0.5 |  | No PI | 0 | 1 | ? | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.93683 | 0.7798 | 0.098938 | 80150 | [7 empty] | 0 | 0 |  | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | [7 empty] | 14 | FALSE | [14 empty] | 1
517 | HELENSBURGH (SP) |  |  | 132/33 | 2 x 60 |  |  |  | 1 |  | Diverse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.93981 | 0.85131 | 0.7137 | [10 empty] | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
690 | FORT AUGUSTUS | 894 | ARDOCHY | 33/11 | 0.1 |  | No PI | 0.022475 | 1 | ? | 0 | 0.022475 | 0.022476 | 0.022476 | 0.022476 | 0.022477 | 0.022477 | 0.022478 | 0.022478 | 0.022479 | 0.022479 | 0.022479 | 0.02248 | 0.02248 | 0.022481 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.022475 |  |  | TRUE | 0.022475 | 0.022476 | 0.022476 | 0.022476 | 0.022477 | 0.022477 | 0.022478 | 0.022478 | 0.022479 | 0.022479 | 0.022479 | 0.02248 | 0.02248 | 0.022481 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
699 | FORT AUGUSTUS | 396 | GLEN LAOGH | 33/11 | 1 x 0.1 |  | No PI | 0.0084282 | 1 | 0 | 0 | 0.0084282 | 0.0084284 | 0.0084285 | 0.0084287 | 0.0084288 | 0.008429 | 0.0084291 | 0.0084293 | 0.0084295 | 0.0084296 | 0.0084298 | 0.0084299 | 0.0084301 | 0.0084302 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.0084282 | 0 |  | TRUE | 0.0084282 | 0.0084284 | 0.0084285 | 0.0084287 | 0.0084288 | 0.008429 | 0.0084291 | 0.0084293 | 0.0084295 | 0.0084296 | 0.0084298 | 0.0084299 | 0.0084301 | 0.0084302 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
732 | FORT WILLIAM | 756 | GLENUIG | 33/11 | 1 x 0.1 |  | No PI | 0.078663 | 1 | H | H | 0.078663 | 0.080771 | 0.082934 | 0.085156 | 0.087437 | 0.089779 | 0.092184 | 0.094653 | 0.097189 | 0.099792 | 0.10247 | 0.10521 | 0.10803 | 0.11092 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.078663 | 0 |  | TRUE | 0.078663 | 0.080771 | 0.082934 | 0.085156 | 0.087437 | 0.089779 | 0.092184 | 0.094653 | 0.097189 | 0.099792 | 0.10247 | 0.10521 | 0.10803 | 0.11092 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
738 | FORT WILLIAM | 771 | KINGAIRLOCH | 33/11 | 1 x 0.1 |  | No PI | 0.081473 | 1 | H | H | 0.081473 | 0.083655 | 0.085896 | 0.088197 | 0.09056 | 0.092986 | 0.095476 | 0.098034 | 0.10066 | 0.10336 | 0.10613 | 0.10897 | 0.11189 | 0.11488 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.081473 | 0 |  | TRUE | 0.081473 | 0.083655 | 0.085896 | 0.088197 | 0.09056 | 0.092986 | 0.095476 | 0.098034 | 0.10066 | 0.10336 | 0.10613 | 0.10897 | 0.11189 | 0.11488 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
744 | FORT WILLIAM | 721 | LIDDESDALE | 33/11 | 1 x 0.1 |  | 2020-02-18 20:15 | 0.82466 | 1 | H | H | 0.82466 | 0.84675 | 0.86944 | 0.89273 | 0.91664 | 0.94119 | 0.96641 | 0.99229 | 1.0189 | 1.0462 | 1.0742 | 1.103 | 1.1325 | 1.1628 |  | 0.84264 | 0.70051 | 0.098938 | [8 empty] | 0.77 | 0.054663 |  | TRUE | 0.82466 | 0.84675 | 0.86944 | 0.89273 | 0.91664 | 0.94119 | 0.96641 | 0.99229 | 1.0189 | 1.0462 | 1.0742 | 1.103 | 1.1325 | 1.1628 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
756 | FORT WILLIAM | 753 | POOR HOUSE | 33/11 | 1 x 0.1 |  | No PI | 0.019666 | 1 | 0 | 0 | 0.019666 | 0.019666 | 0.019667 | 0.019667 | 0.019667 | 0.019668 | 0.019668 | 0.019668 | 0.019669 | 0.019669 | 0.019669 | 0.01967 | 0.01967 | 0.019671 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.019666 | 0 |  | TRUE | 0.019666 | 0.019666 | 0.019667 | 0.019667 | 0.019667 | 0.019668 | 0.019668 | 0.019668 | 0.019669 | 0.019669 | 0.019669 | 0.01967 | 0.01967 | 0.019671 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
765 | FORT WILLIAM | 755 | SHONA BEAG | 33/11 | 1 x 0.1 |  | No PI | 0.028094 | 1 | 0 | 0 | 0.028094 | 0.028095 | 0.028095 | 0.028096 | 0.028096 | 0.028097 | 0.028097 | 0.028098 | 0.028098 | 0.028099 | 0.028099 | 0.0281 | 0.0281 | 0.028101 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.028094 | 0 |  | TRUE | 0.028094 | 0.028095 | 0.028095 | 0.028096 | 0.028096 | 0.028097 | 0.028097 | 0.028098 | 0.028098 | 0.028099 | 0.028099 | 0.0281 | 0.0281 | 0.028101 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
798 | GRUDIE BRIDGE | 535 | BIDEN CLAN RAONAILD | 33/11 | 1 x 0.1 |  | No PI | 0.0028094 | 1 | 0 | 0 | 0.0028094 | 0.0028095 | 0.0028095 | 0.0028096 | 0.0028096 | 0.0028097 | 0.0028097 | 0.0028098 | 0.0028098 | 0.0028099 | 0.0028099 | 0.00281 | 0.00281 | 0.0028101 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.0028094 | 0 |  | TRUE | 0.0028094 | 0.0028095 | 0.0028095 | 0.0028096 | 0.0028096 | 0.0028097 | 0.0028097 | 0.0028098 | 0.0028098 | 0.0028099 | 0.0028099 | 0.00281 | 0.00281 | 0.0028101 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
804 | GRUDIE BRIDGE | 567 | GARBAT FOREST | 33/11 | 1 x 0.1 |  | No PI | 0.0056188 | 1 | 0 | 0 | 0.0056188 | 0.0056189 | 0.005619 | 0.0056191 | 0.0056192 | 0.0056193 | 0.0056194 | 0.0056195 | 0.0056196 | 0.0056197 | 0.0056198 | 0.0056199 | 0.00562 | 0.0056202 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.0056188 | 0 |  | TRUE | 0.0056188 | 0.0056189 | 0.005619 | 0.0056191 | 0.0056192 | 0.0056193 | 0.0056194 | 0.0056195 | 0.0056196 | 0.0056197 | 0.0056198 | 0.0056199 | 0.00562 | 0.0056202 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
819 | GRUDIE BRIDGE | 568 | LOCH GLASCARNOCH | 33/11 | 1 x 0.5 |  | No PI | 0.0028094 | 1 | 0 | 0 | 0.0028094 | 0.0028095 | 0.0028095 | 0.0028096 | 0.0028096 | 0.0028097 | 0.0028097 | 0.0028098 | 0.0028098 | 0.0028099 | 0.0028099 | 0.00281 | 0.00281 | 0.0028101 |  | 0.93683 | 0.7798 | 0.098938 | [8 empty] | 0.0028094 | 0 |  | TRUE | 0.0028094 | 0.0028095 | 0.0028095 | 0.0028096 | 0.0028096 | 0.0028097 | 0.0028097 | 0.0028098 | 0.0028098 | 0.0028099 | 0.0028099 | 0.00281 | 0.00281 | 0.0028101 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
886 | KEITH | 463 |  | 132/33 | 2 x 90 |  | 2020-01-09 17:04 | 38.9798 | 1 |  | Diverse | 38.9798 | 39.0184 | 39.0572 | 39.0962 | 39.1354 | 39.1748 | 39.2144 | 39.2543 | 39.2944 | 39.3347 | 39.3752 | 39.4159 | 39.4569 | 39.498 | Diversity/Losses: 1.379 | 0.91558 | 0.64882 | 0.7137 | [8 empty] | 50.5 | -11.5202 | TRUE |  | 53.7349 | 53.788 | 53.8415 | 53.8953 | 53.9493 | 54.0036 | 54.0583 | 54.1132 | 54.1685 | 54.224 | 54.2799 | 54.336 | 54.3925 | 54.4492 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 0.72541
1153 | NAIRN | 733 |  | 132/33 | 2 x 60 |  | 2019-12-16 17:50 | 28.8495 | 1 |  | Diverse | 28.8495 | 28.9294 | 29.01 | 29.0911 | 29.1729 | 29.2553 | 29.3383 | 29.422 | 29.5063 | 29.5912 | 29.6768 | 29.7631 | 29.85 | 29.9376 | Diversity/Losses: 0.948 | 0.91828 | 0.78422 | 0.27451 | [8 empty] | 31.3 | -2.4505 | TRUE |  | 27.3626 | 27.4384 | 27.5148 | 27.5918 | 27.6693 | 27.7475 | 27.8262 | 27.9056 | 27.9855 | 28.0661 | 28.1473 | 28.2291 | 28.3115 | 28.3946 | 0 | [8 empty] | 14 | FALSE | [14 empty] | 1
1327 | SHETLAND |  |  | 33 |  |  |  |  | 1 |  | Diverse | 38.2649 | 38.3404 | 38.4158 | 38.4926 | 38.5708 | 38.6504 | 38.7314 | 38.8139 | 38.8979 | 38.9835 | 39.0706 | 39.1592 | 39.2496 | 39.3415 |  | 0.93981 | 0.85131 | 0.7137 | [10 empty] | TRUE |  | 38.2662 | 38.3404 | 38.4158 | 38.4926 | 38.5708 | 38.6504 | 38.7314 | 38.8139 | 38.8979 | 38.9835 | 39.0706 | 39.1592 | 39.2496 | 39.3415 | 0 | [8 empty] | 13 | TRUE | 38.2649 | [13 empty] | 0.99997